## Simulator description
Type of simulator
Modelling approach
Cardiac chambers
Number of vascular elements | #
Specification of vascular components
Physiological mechanisms modelled
Time step for equations [ms] | #
Execution of simulations in real time
Medical devices that can be tested
Mock loop
Hybrid simulator
Other
0D model
0D model combined with higher order
Open loop
Closed loop
Time varying elastance for atria
Time varying elastance for ventricles
Left ventricle
Left atrium
Right ventricle
Right atrium
Systemic circulation
Aorta
Venous systemic circulation
Arterial
Venous
Arterial and venous mixed in one compartment
Pulmonary circulation
Coronary circulation
Cerebral circulation
Valves
Aortic
Mitral
Pulmonary
Tricuspid
Frank starling
Systole/diastole ratio depending on HR
Force/frequency relationship
Non linear vascular compliance
Non linear vascular resistance
Venous valves
Non linear atrial compliance
Non linear ventricular compliance
In atrial systole
In atrial diastole
In ventricular systole
In ventricular diastole
Baroreflex control
Respiratory mechanics during spontanous breathing
Respiratory mechanics during mechanical ventilation
Heart lung interaction
Suction in the ventircular chamber
Interventricular septum
Pericardium
Other
LVAD
RVAD
TAH
IABP
ECMO
Heart valves
Yes
No
Renal circulation
Percutaneous transvalvular pump
Cardiac monitoring devices

## Hardware description
Number of actuators | 1
Type of actuators
Vascular resistive elements
Number of collapsible vascular tubes | #
Cardiac valves
Number of compliant elements | 1
Type of compliant elements
Liquid
Specify composition | Water/Glycerol volume | 650/350 | ml
Viscosity value in cP (specify if estimated or measured) | 3.5 | cP
Temperature of the liquid (room temperature/body temperature) | 21.7ºc
Density | 1094 | kg/m3
Newtonian / non Newtonian | Newtonian
Does the simulator include 1D model (yes/no)?
If yes for which vascular components?
Number of tubes | 10
For each tube specify: tube material, length, internal diameter, geometry (cylindrical, tapered, straight, 90° curvature…)
| material | length (in) | ID (in)
1 | Silicon | 20.75 | 1
2 | Silicon | 1 | 1
3 | Silicon | 1 | 0.75
4 | Silicon | 3.5 | 1
5 | Silicon | 13 | 0.75
6 | Silicon | 3.25 | 1
7 | Silicon | 0.75 | 1
8 | Silicon | 1 | 0.75
9 | Silicon | 3 | 1
10 | Silicon | 31 | 1
Connectors LVAD to simulator. Specify: tube material, length, internal diameter, geometry (cilindrical, tapered, streight, 90° curvature…)
Element used to reproduce suction (e.g. collapsible tube, valve)
Pneumatic
Hydraulic
Pulsatile LVAD
Other
Pinch valve
Computer controlled resistance valve
Hofman clamp
Electrovalve
Linear resistive element (Westerhof)
Check valves
Other
Hydraulic chamber with compressed air
Hydraulic chamber with spring element
Hydraulic chamber with elastic membrane
Mechanical bileaflet
Polymeric valve
Disc valve
Ball valve
1
2
3
4
5
6
7
9
10
8

## Data acquisition
DAQ board (brand, model)
ADInstruments_PowerLab
ADInstruments_Octal Bridge Amp
ADInstruments_C series
MPVS Ultra
Sampling rate for data acquisition | 1000
Data acquisition method (e.g. real time, triggering methods)
Real Time
Analog/ digital filter for data (include description if present)
Amplification (indicate if present and for which signals)
Pressure signal Using ADInstruments_Octal Bridge Amp
Number of pressure sensors | 6
For each specify model, location on the simulator, calibration details, range, resolution, error, frequency response
| model | Location | Calibration |  |  |  | range | Sensitivity
|  |  | P1 (mmHg) | V1 (mV) | P2 (mmHg) | V2 (mV)
1 | SP 844 Physiological Pressure Transducer | Before Left Atrium | 20 | 0.67065 | 100 | 3.483 | (-20 to 300 mmHg) | 5.02 uV/V/mmHg
2 | SP 844 Physiological Pressure Transducer | Between Left Atrium and Left Ventricle inlet | 20 | 0.69904 | 100 | 3.5295 | (-20 to 300 mmHg) | 5.02 uV/V/mmHg
3 | SP 844 Physiological Pressure Transducer | At the LV Apex before the VAD inlet | 20 | 0.72175 | 100 | 3.6044 | (-20 to 300 mmHg) | 5.02 uV/V/mmHg
4 | SP 844 Physiological Pressure Transducer | Right after the VAD outlet | 20 | 0.69683 | 100 | 3.5372 | (-20 to 300 mmHg) | 5.02 uV/V/mmHg
5 | SP 844 Physiological Pressure Transducer | at the junction between LV outlet and the VAD outlet | 20 | 0.7194 | 100 | 3.5893 | (-20 to 300 mmHg) | 5.02 uV/V/mmHg
6 | SP 844 Physiological Pressure Transducer | after the systemic compliance | 20 | 0.66334 | 100 | 3.5103 | (-20 to 300 mmHg) | 5.02 uV/V/mmHg
Number of flow sensors | 3
For each specify location, model, calibration details, range, resolution, error, frequency response
| model | Location | Calibration |  |  |  | range (LPM) | Sensitivity | Accuracy (% of the reading) | Resolution ( ml/min)
|  |  | Q1 (LPM) | V1 (V) | Q2 (LPM) | V2 (V)
1 | Clamp-on Transonic Flowsensor_ME 20 PXL | before left atrium | 0 | 0 | 1 | 20 | (-100 to 100) |  | ±10 | 50
2 | Clamp-on Transonic Flowsensor_ME 16 PXL | after the VAD outlet nad before the juction to the LV outlet | 0 | 0 | 1 | 10 | (-50 to 50 ) |  | ±10 | 25
3 | Clamp-on Transonic Flowsensor_ME 20 PXL | after the systemic compliance | 0 | 0 | 1 | 20 | (-100 to 100) |  | ±10 | 50
6
5
4
3
2
1
Pressure Sensors
Flow Sensors
1
3
2
DAQ

## Outputfile
Format of the acquisition file
Signals collected (those already selected are mandatory)
(mandatory)
(mandatory)
(mandatory)
(mandatory)
(mandatory)
List other signals collected
LVEDP
Indicate which signals are in silico and which are in vitro (for hybrid simulator)
Cardiac output
Left ventricular pressure
Other
Other
Left atrial pressure
Cardiac cycle time
Aortic pressure
Flow loop temperature
Left ventricular volume
Aortic flow
LVAD flow
LVAD inlet/outlet pressure
LVAD internal pressure
LVAD motor current, voltage and power
LVAD rotational speed
LVAD cycle time pulse rate
Pulmonary arterial pressure
Right atrial pressure
Right ventricular pressure

## DataSummary(LinkedCells)
Type of simulator
mock loop | TRUE
hybrid simultor | FALSE
other | FALSE
Modelling approach
0D model | FALSE
0D model combined with higher order | FALSE
open loo | FALSE
closed loop | TRUE
time varying elastance for atria | FALSE
time varying elastance for ventricle | FALSE
Cardiac chambers
Left ventricle | TRUE
Left atrium | TRUE
Right ventricle | FALSE
Right atrium | FALSE
Number of vascular elements | #
Specification of vascular components
Systemic circulation | TRUE
Arterial | TRUE
Venous | FALSE
Arterial and venous mixed in one compartment | FALSE
Aorta | TRUE
Venous systemic circulation | FALSE
Pulmonary circulation | FALSE
Coronary circulation | FALSE
Cerebral circulation | FALSE
Renal circulation | FALSE
Valves | TRUE
Aortic | TRUE
Mitral | TRUE
Pulmonary | FALSE
Tricuspid | FALSE
Physiological mechanisms modelled
Frank Starlin | FALSE
Systole/ Diastole ratio depening on HR | TRUE
Force/frequency relationship | FALSE
Non linear vascular compliance | TRUE
Non linar vascular resistance | TRUE
Venous valves | FALSE
Non linear atrial compliance | FALSE
In atrial systole | FALSE
In atrial diastole | FALSE
Non linear ventricular compliance | FALSE
In ventricular systole | FALSE
In ventricular diastole | FALSE
Baroreflex control | FALSE
Respiratory mechanics during spontanous breathing | FALSE
Respiratory mechanics during mechanical ventilation | FALSE
Heart lung interation | FALSE
Suction in the ventircular chamber | FALSE
Interventricular septum | FALSE
Pericardium | FALSE
Other | FALSE
Time step for equations [ms] | #
Execution of simulations in real time
yes | FALSE
no | FALSE
Medical devices that can be tested
LVAD | TRUE
RVAD | FALSE
TAH | FALSE
IABP | FALSE
ECMO | FALSE
Heart valves | FALSE
Percutaneous transvalvular pump | FALSE
Cardiac monitoring devices | FALSE
Number of actuators | 1
Type of actuators
Pneumatic | TRUE
Hydraulic | FALSE
Pulsatile VAD | FALSE
Other | FALSE
Vascular resistive elements
Pinch valve | FALSE
Computer controlled resistance valve | FALSE
Hofman clamp | TRUE
Electrovalve | FALSE
Linear resistive element (Westerhof) | FALSE
Number of collapsible vascular tubes | #
Cardiac valves
Check valves | FALSE
Mechanical bileaflet | FALSE
Polymeric valve | FALSE
Disc valve | TRUE
Ball valve | FALSE
Other | FALSE
Number of compliant elements | 1
Type of compliant elements
Hydraulic chamber with compressed air | TRUE
Hydraulic chamber with spring element | FALSE
Hydraulic chamber with elastic membrane | FALSE
Format of the acquisition file
LabChart Data File
Signals collected (those already selected are mandatory)
Cardiac cycle time | TRUE
Left ventricular pressure | TRUE
Cardiac output | TRUE
Left atrial pressure | TRUE
Aortic pressure | TRUE
Flow loop temperature | TRUE
Left ventricuar volume | FALSE
Aortic flow | TRUE
LVAD flow | TRUE
LVAD inlet/outlet pressure | TRUE
LVAD internal pressure | FALSE
LVAD motor current, voltage, power | FALSE
LVAD rotational speed | FALSE
LVAD cycle time pulse rate | FALSE
Pulmonary arterial pressure | FALSE
Right atrial pressure | FALSE
Right ventricular pressure | FALSE